## outdr ter 33blow
33 kV and below CABLE TERMINATIONS (for outdoor termination)
FORM PD 326.MV
Nov. 2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  | SCHEDULE NO.
BIDDER |  |  | ITEM NO.
a. | Manufacturer and Country of Origin
- Cable Terminations
- Manufacturer
- Country of origin
b. | Type / Model / Cat. NO.
c. | Applied Standard
*in case of other, please specify in the box below :
d. | Material of Insulator
e. | Rated Voltage | [6 empty] | kV
*in case of other, please specify in the box below :
f. | Impulse Withstand Voltage (BIL) |  |  |  |  | kV
g. | Power frequency (Dry) |  |  |  | kV | min
h. | Partial discharge |  |  |  |  | kV
i. | Operating Environments
*in case of other, please specify in the box below :
j. | Aerial Connector
*in case of other, please specify in the box below :
k. | For XLPE Cable Suitability
|  | - Conductor Range | Min |  | mm2 | Max |  | mm2
|  | - Insulation Diameter (min-max) | Min |  | mm | Max |  | mm
conforming with EGAT requirement (IEEE 48)
Other*
Porcelain
Other
2 x 1 bolt holes NEMA Pad
2 x 2 bolt holes NEMA Pad
2 x 3 bolt holes NEMA Pad
Other*
Medium Pollution
Heavy Pollution
| Extremely Heavy Pollution |  |  | Insulation Class 15 kV
| Other* |  |  | Insulation Class 25 kV
Insulation Class 35 kV
Other*
X