## LV_Turnkey
`
LOW VOLTAGE CABLE AND CONDUCTOR
FORM PD-LV Cable & Con
Oct.2024
PROPOSAL DATA
PROCUREMENT REFERENCE |  |  | RTS3-S-02 | SCHEDULE NO. | 1AB18
BIDDER |  | CONSORTIUM OF SCI ELECTRIC PUBLIC COMPANY LIMITED AND NARI GROUP CORPORATION /Thailand-P.R China |  | ITEM NO. | 1AB18-1 / 1AB18-2 /1AB18-3/ 1AB18-4 / 1AB18-5 / 1AB18-6/ 1AB18-7/ 1AB18-8 --> 1AB18-1 / 1AB18-2 /1AB18-3/ 1AB18-4 / 1AB18-5 / 1AB18-6/ 1AB18-7/
a. | Power Cable and Control Cable |  |  | Power Cable |  | Control Cable |  | Twisted Pair Control Cable
|  | - Manufacturer |  | Bangkok Cable
|  | - Country |  | Thailand
|  | - Applied Standards |  | conforming with EGAT requirement (TIS11-2559) |  | conforming with EGAT requirement (TIS11-2559) |  | conforming with EGAT requirement (TIS11-2559)
*in case of other, please specify in the box below :
b. | Lighting cable (THW and/or NYY) |  |  | THW (IEC01) |  |  | NYY
|  | - Manufacturer |  | Bangkok Cable |  |  | Bangkok Cable
|  | - Country |  | Thaialnd |  |  | Thaialnd
|  | - Applied Standards |  | conforming with EGAT requirement (TIS11-2559) |  |  | conforming with EGAT requirement (TIS11-2559)
*in case of other, please specify in the box below :
c. | Annealed Copper Ground Wire
|  | - Manufacturer |  | Bangkok Cable
|  | - Country |  | Thailand
|  | - Applied Standards |  | conforming with EGAT requirement (TIS11-2559)
*in case of other, please specify in the box below :
d. | Overhead Ground Wire
|  | - Manufacturer |  | Sinthani Industry Co., Ltd
|  | - Country |  | Thailand
|  | - Applied Standards |  | conforming with EGAT requirement (TIS11-2559)
*in case of other, please specify in the box below :
e. | Aluminum Conductor
|  | - Manufacturer |  | Bangkok Cable
|  | - Country |  | Thailand
|  | - Applied Standards |  | conforming with EGAT requirement (TIS11-2559)
*in case of other, please specify in the box below :